## Slide 1
CHEMDU · COMMUNITY CHEMISTRY · LEVEL 2 ADVANCED
LECTURE 12
Spectroscopy
How light reveals chemistry — sunscreen, breathalyzers, MRI
chemdu.org | An advanced module

## Slide 2
CHEMDU · LEVEL 2 · ADVANCED
L2-12: Spectroscopy
Slide 2 / 11
chemdu.org
OPENING
Light tells us everything
▸ Sunscreen blocks UV — that's SPECTROSCOPY at work.
▸ Breathalyzer detects ethanol — using infrared light.
▸ MRI maps your body — using radio waves.
▸ Today: how each kind of light interacts with matter.
Sunscreen · breathalyzer · pregnancy test

## Slide 3
CHEMDU · LEVEL 2 · ADVANCED
L2-12: Spectroscopy
Slide 3 / 11
chemdu.org
WHAT IS SPECTROSCOPY?
Light + matter = signal
▸ Different molecules absorb DIFFERENT wavelengths of light
▸ That absorption pattern is a "fingerprint"
▸ Devices measure WHICH wavelengths went through and which didn't
▸ Used in chemistry, medicine, environmental science, forensics

## Slide 4
CHEMDU · LEVEL 2 · ADVANCED
L2-12: Spectroscopy
Slide 4 / 11
chemdu.org
🌈 EM SPECTRUM
From gamma rays to radio waves
γ
gamma
X-ray
X-ray
UV
UV
Visible
visible
IR
IR
μwave
microwave
Radio
radio
UV
Sunscreen blocks UV ⇒ DNA stays safe
IR
Bond vibrations ⇒ breathalyzer detects ethanol
NMR
Maps hydrogen atoms ⇒ MRI medical imaging

## Slide 5
CHEMDU · LEVEL 2 · ADVANCED
L2-12: Spectroscopy
Slide 5 / 11
chemdu.org
BEER-LAMBERT LAW
A = εbc
▸ A = ε × b × c
▸ A = absorbance (no units)
▸ ε = molar absorptivity (M⁻¹cm⁻¹) — molecule property
▸ b = path length (cm) — usually 1 cm
▸ c = concentration (M)
▸ More molecules in path → more light absorbed

## Slide 6
CHEMDU · LEVEL 2 · ADVANCED
L2-12: Spectroscopy
Slide 6 / 11
chemdu.org
✦ WORKED EXAMPLE 1
Find concentration from absorbance
?
A solution shows A = 1.00. ε = 50,000 M⁻¹cm⁻¹, b = 1 cm. Find c.
1
A = εbc
2
c = A / (εb)
3
c = 1.00 / (50,000 × 1)
4
c = 2.00 × 10⁻⁵ M
✦ ANSWER
2.00 × 10⁻⁵ M

## Slide 7
CHEMDU · LEVEL 2 · ADVANCED
L2-12: Spectroscopy
Slide 7 / 11
chemdu.org
✦ WORKED EXAMPLE 2
Standard curve method
?
A 0.0001 M standard reads A = 0.50. An unknown reads A = 0.75. Find unknown concentration.
1
A is proportional to c (Beer-Lambert)
2
c_unknown / c_standard = A_unknown / A_standard
3
c_unknown = 0.0001 × (0.75 / 0.50)
4
c_unknown = 1.5 × 10⁻⁴ M
✦ ANSWER
1.5 × 10⁻⁴ M

## Slide 8
CHEMDU · LEVEL 2 · ADVANCED
L2-12: Spectroscopy
Slide 8 / 11
chemdu.org
IR ABSORPTION
Common bond fingerprints
Bond | Wavelength | Where you see it
O–H | ~3.3 μm | Alcohols, water
C–H | ~3.4 μm | Hydrocarbons (gasoline, ethanol)
C=O | ~5.8 μm | Esters, ketones, fatty acids
C≡C, C≡N | ~4.5 μm | Acetylene, nitriles
C–O | ~9.0 μm | Sugars, plastics

## Slide 9
CHEMDU · LEVEL 2 · ADVANCED
L2-12: Spectroscopy
Slide 9 / 11
chemdu.org
FLUORESCENCE
Absorb high-energy light, emit lower-energy light
▸ Glow stick: chemical reaction → excited molecule → emits visible
▸ Black light makes white clothes glow (UV → visible)
▸ Some sunscreens fluoresce under UV
▸ Used in DNA labs, medical imaging, security inks

## Slide 10
CHEMDU · LEVEL 2 · ADVANCED
L2-12: Spectroscopy
Slide 10 / 11
chemdu.org
NMR / MRI
Mapping hydrogen atoms in your body
▸ Strong magnetic field aligns hydrogen nuclei
▸ Radio pulse flips them; relaxation back emits a signal
▸ Different tissues have different hydrogen densities and relaxation rates
▸ No radiation — safer than CT scans for long-term imaging
▸ Same idea is used in chemistry to identify unknown molecules (NMR spectroscopy)

## Slide 11
CHEMDU · LEVEL 2 · ADVANCED
L2-12: Spectroscopy
Slide 11 / 11
chemdu.org
WRAP-UP
Spectroscopy tool kit
CONCEPT / FORMULA | WHAT IT MEANS / USE
A = εbc | Beer–Lambert law (Concentration from absorbance)
UV | DNA damage — sunscreen blocks it
IR | Bond vibrations — breathalyzer
NMR | Hydrogen atoms — MRI
Fluorescence | Re-emit lower energy — glow stick